## Data
Project_ID | Project_source | Project_localpath | Instrument | Cruise_field | Station_field | Profile_field | Sample_field | Latitude_field | Latitude_unit | Longitude_field | Longitude_unit | Depth_min_field | Depth_min_unit | Depth_max_field | Depth_max_unit | Sampling_date_field | Sampling_date_format | Sampling_time_field | Sampling_time_format | Volume_analyzed_field | Volume_analyzed_unit | Dilution_field | ROI_field | ESD_field | ESD_unit | Biovolume_field | Biovolume_unit | Area_field | Area_unit | Minor_axis_field | Minor_axis_unit | Pixel_field | Pixel_unit | Category_field | Annotation_field | Flag_path | NA_value | External_project | Sampling_type_field | Sampling_lower_size_field | Sampling_lower_size_unit | Sampling_upper_size_field | Sampling_upper_size_unit | Sampling_description
2248 | https://ecotaxa.obs-vlfr.fr/prj/2248 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3147 | https://ecotaxa.obs-vlfr.fr/prj/3147 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3289 | https://ecotaxa.obs-vlfr.fr/prj/3289 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3290 | https://ecotaxa.obs-vlfr.fr/prj/3290 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3294 | https://ecotaxa.obs-vlfr.fr/prj/3294 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3295 | https://ecotaxa.obs-vlfr.fr/prj/3295 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3296 | https://ecotaxa.obs-vlfr.fr/prj/3296 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3297 | https://ecotaxa.obs-vlfr.fr/prj/3297 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3298 | https://ecotaxa.obs-vlfr.fr/prj/3298 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3299 | https://ecotaxa.obs-vlfr.fr/prj/3299 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3300 | https://ecotaxa.obs-vlfr.fr/prj/3300 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3301 | https://ecotaxa.obs-vlfr.fr/prj/3301 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3302 | https://ecotaxa.obs-vlfr.fr/prj/3302 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3303 | https://ecotaxa.obs-vlfr.fr/prj/3303 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3304 | https://ecotaxa.obs-vlfr.fr/prj/3304 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3305 | https://ecotaxa.obs-vlfr.fr/prj/3305 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3306 | https://ecotaxa.obs-vlfr.fr/prj/3306 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3307 | https://ecotaxa.obs-vlfr.fr/prj/3307 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3308 | https://ecotaxa.obs-vlfr.fr/prj/3308 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3309 | https://ecotaxa.obs-vlfr.fr/prj/3309 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3310 | https://ecotaxa.obs-vlfr.fr/prj/3310 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3311 | https://ecotaxa.obs-vlfr.fr/prj/3311 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3312 | https://ecotaxa.obs-vlfr.fr/prj/3312 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3313 | https://ecotaxa.obs-vlfr.fr/prj/3313 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3314 | https://ecotaxa.obs-vlfr.fr/prj/3314 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3315 | https://ecotaxa.obs-vlfr.fr/prj/3315 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3318 | https://ecotaxa.obs-vlfr.fr/prj/3318 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3320 | https://ecotaxa.obs-vlfr.fr/prj/3320 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3321 | https://ecotaxa.obs-vlfr.fr/prj/3321 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3322 | https://ecotaxa.obs-vlfr.fr/prj/3322 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3323 | https://ecotaxa.obs-vlfr.fr/prj/3323 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3324 | https://ecotaxa.obs-vlfr.fr/prj/3324 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3325 | https://ecotaxa.obs-vlfr.fr/prj/3325 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3326 | https://ecotaxa.obs-vlfr.fr/prj/3326 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3331 | https://ecotaxa.obs-vlfr.fr/prj/3331 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3332 | https://ecotaxa.obs-vlfr.fr/prj/3332 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3333 | https://ecotaxa.obs-vlfr.fr/prj/3333 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3334 | https://ecotaxa.obs-vlfr.fr/prj/3334 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3335 | https://ecotaxa.obs-vlfr.fr/prj/3335 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3337 | https://ecotaxa.obs-vlfr.fr/prj/3337 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3338 | https://ecotaxa.obs-vlfr.fr/prj/3338 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3339 | https://ecotaxa.obs-vlfr.fr/prj/3339 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3340 | https://ecotaxa.obs-vlfr.fr/prj/3340 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3341 | https://ecotaxa.obs-vlfr.fr/prj/3341 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3342 | https://ecotaxa.obs-vlfr.fr/prj/3342 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
3343 | https://ecotaxa.obs-vlfr.fr/prj/3343 | ~/GIT/PSSdb/raw/ecotaxa | IFCB | sample_cruise |  |  | sample_id | object_lat | degree | object_lon | degree | object_depth_min | meter | object_depth_max | meter | object_date | %Y%m%d | object_time | %H%M%S |  |  |  | object_id |  |  | object_summedbiovolume | cubic_pixel | object_summedarea | square_pixel | object_summedminoraxislength | pixel | process_pixel_to_micron | pixel_per_micron | object_annotation_category | object_annotation_status
san-francisco-pier-17 | https://ifcb.caloos.org/timeline?dataset=san-francisco-pier-17 | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
santa-cruz-municipal-wharf | https://ifcb.caloos.org/timeline?dataset=santa-cruz-municipal-wharf | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
scripps-pier | https://ifcb.caloos.org/timeline?dataset=scripps-pier | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
mbari-power-buoy | https://ifcb.caloos.org/timeline?dataset=mbari-power-buoy | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
newport-beach-pier | https://ifcb.caloos.org/timeline?dataset=newport-beach-pier | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
san-francisco-bay-cruises | https://ifcb.caloos.org/timeline?dataset=san-francisco-bay-cruises | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
stearns-wharf | https://ifcb.caloos.org/timeline?dataset=stearns-wharf | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
del-mar-mooring | https://ifcb.caloos.org/timeline?dataset=del-mar-mooring | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
bodega-marine-lab | https://ifcb.caloos.org/timeline?dataset=bodega-marine-lab | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
cal-poly-humboldt-hioc | https://ifcb.caloos.org/timeline?dataset=cal-poly-humboldt-hioc | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
scripps-pier-ifcb-183 | https://ifcb.caloos.org/timeline?dataset=scripps-pier-ifcb-183 | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
calcofi-cruises-ctd | https://ifcb.caloos.org/timeline?dataset=calcofi-cruises-ctd | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
plumes-and-blooms-cruises | https://ifcb.caloos.org/timeline?dataset=plumes-and-blooms-cruises | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
calcofi-cruises-underway | https://ifcb.caloos.org/timeline?dataset=calcofi-cruises-underway | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
SPIROPA | https://ifcb-data.whoi.edu/timeline?dataset=SPIROPA | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
WHOI_dock | https://ifcb-data.whoi.edu/timeline?dataset=WHOI_dock | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
EXPORTS | https://ifcb-data.whoi.edu/timeline?dataset=EXPORTS | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
Attune_size_calibration_July2018 | https://ifcb-data.whoi.edu/timeline?dataset=Attune_size_calibration_July2018 | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
Lab_testing | https://ifcb-data.whoi.edu/timeline?dataset=Lab_testing | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
NAAMES | https://ifcb-data.whoi.edu/timeline?dataset=NAAMES | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
harpswell | https://ifcb-data.whoi.edu/timeline?dataset=harpswell | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
NESLTER_transect | https://ifcb-data.whoi.edu/timeline?dataset=NESLTER_transect | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
Llopiz_preserved_microzooplankton | https://ifcb-data.whoi.edu/timeline?dataset=Llopiz_preserved_microzooplankton | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
mdibl | https://ifcb-data.whoi.edu/timeline?dataset=mdibl | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
arctic | https://ifcb-data.whoi.edu/timeline?dataset=arctic | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
SIO_Delmar_mooring | https://ifcb-data.whoi.edu/timeline?dataset=SIO_Delmar_mooring | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
NESLTER_broadscale | https://ifcb-data.whoi.edu/timeline?dataset=NESLTER_broadscale | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
IFCB14_dock_WHOI | https://ifcb-data.whoi.edu/timeline?dataset=IFCB14_dock_WHOI | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
gsodock | https://ifcb-data.whoi.edu/timeline?dataset=gsodock | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
fiddlers | https://ifcb-data.whoi.edu/timeline?dataset=fiddlers | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
nauset | https://ifcb-data.whoi.edu/timeline?dataset=nauset | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
OTZ_Atlantic | https://ifcb-data.whoi.edu/timeline?dataset=OTZ_Atlantic | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
mvco | https://ifcb-data.whoi.edu/timeline?dataset=mvco | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
Orifices_tests_2022 | https://ifcb-data.whoi.edu/timeline?dataset=Orifices_tests_2022 | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
FCB_IFCB_hybrid | https://ifcb-data.whoi.edu/timeline?dataset=FCB_IFCB_hybrid | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}
NBP2202 | https://ifcb-data.whoi.edu/timeline?dataset=NBP2202 | ~/GIT/PSSdb/raw/IFCB_dashboard_downloads | IFCB | sample_cruise |  |  | sample_id | latitude | degree | longitude | degree | depth | meter | depth | meter |  |  | datetime | %Y%m%d %H:%M:%S | vol_analyzed | milliliters |  | roi_id | equiv_diameter | pixel | biovolume | cubic_pixel | area | square_pixel | minor_axis_length | pixel | pixel_to_micron | micron_per_pixel | class_1 |  |  | -9999999 |  | sample_type | minBlobArea | pixel |  |  | image_resize_factor:{field:imageResizeFactor};blob_x_grow:{field:blobXgrowAmount};blob_y_grow:{field:blobYgrowAmount};sample_vol_config:{field:SyringeSampleVolume};pmtA_voltage:{field:PMTAhighVoltage};pmtA_threshold:{field:PMTAtriggerThreshold_DAQ_MCConly};pmtB_voltage: {field:PMTBhighVoltage};pmtB_threshold:{field:PMTBtriggerThreshold_DAQ_MCConly};pmtC_voltage:{field:PMTChighVoltage};pmtC_threshold:{field:PMTCtriggerThreshold_DAQ_MCConly}

## Metadata
Variables | Variable_types | Description
Project_ID | object | Unique Project ID (e.g EcoTaxa ID or cruise ID)
Project_source | object | URL of project data source
Project_localpath | object | Local path of directory where projects will be exported
Instrument | object | Project instrument
Cruise_field | object | Name of the cruise ID column in project file
Station_field | object | Name of the station ID column in project file
Profile_field | object | Name of the profile ID column in project file
Sample_field | object | Name of the sample ID column in project file
Latitude_field | object | Name of the latitude column in project file
Latitude_unit | object | Unit of the latitude column in project file
Longitude_field | object | Name of the longitude column in project file
Longitude_unit | object | Unit of the longitude column in project file
Depth_min_field | object | Name of the minimum depth column in project file
Depth_min_unit | object | Unit of the minimum depth column in project file
Depth_max_field | object | Name of the maximum depth column in project file
Depth_max_unit | object | Unit of the maximum depth column in project file
Sampling_date_field | object | Name of the sampling date (UTC) column in project file
Sampling_date_format | object | Format of the sampling date (UTC) column in project file (e.g. yyyymmdd)
Sampling_time_field | object | Name of the sampling time (UTC) column in project file
Sampling_time_format | object | Format of the sampling time(UTC) column in project file(e.g.hhmmss)
Volume_analyzed_field | object | Name of the sample volume analyzed column in project file
Volume_analyzed_unit | object | Unit of the sample volume analyzed column in project file
Dilution_field | object | Name of the dilution factor column in project file
ROI_field | object | Name of the region of interest (ROI) ID column in project file
ESD_field | object | Name of the equivalent spherical diameter column in project file
ESD_unit | object | Unit of the equivalent spherical diameter column in project file
Biovolume_field | object | Name of the biovolume column in project file
Biovolume_unit | object | Unit of the biovolume column in project file
Area_field | object | Name of the area column in project file
Area_unit | object | Unit of the area column in project file
Minor_axis_field | object | Name of the minor ellipsoidal axis column in project file
Minor_axis_unit | object | Unit of the minor ellipsoidal axis column in project file
Pixel_field | object | Name of the pixel conversion factor column in project file
Pixel_unit | object | Unit of the pixel conversion factor column in project file
Category_field | object | Name of the category ID column in project file
Annotation_field | object | Name of the annotation status column in project file (e.g predicted, validated)
Flag_path | object | Path of the file containing the ID of flagged samples to be removed from standardized project. Automatic flagging available in funcs_standardize_projects.py
NA_value | object | Character for missing values
External_project | object | ID of corresponding EcoPart/Ecotaxa project(s) (*UVP-only). Use semicolon to separate multiple projects
Sampling_type_field | object | Name of the sampling type column in project file (e.g. platform, gear, strategy). Used to describe the sampling method
Sampling_lower_size_field | object | Name of the smallest sampled size column in project file (e.g. mesh size). Used to describe the sampling collection threshold
Sampling_lower_size_unit | object | Unit of the smallest sampled size column in project file (e.g. mesh size). Used to describe the sampling collection threshold
Sampling_upper_size_field | object | Name of the largest sampled size column in project file (e.g. mesh size). Used to describe the sampling collection threshold
Sampling_upper_size_unit | object | Unit of the largest sampled size column in project file (e.g. mesh size). Used to describe the sampling collection threshold
Sampling_description | object | Additional description of the sampling method or protocol (e.g. net_aperture:{field:net_surf,unit:square_meter}, fixative:{chemical:glutaraldehyde,concentration:0.1%}, reference: {https://doi.org/...,https://www.protocols.io/view/zooscan-protocol-yxmvmk8j9g3p/v1})